# ELECTRIC LOCKING SYSTEM EQUIPMENT

# 1	GENERAL

## 1.1	QUALIFICATIONS

The Electric Locking Systems (ELS) as specified this section is based on products manufactured by:

Dortronics Systems, Inc.

1668 Sag Harbor Turnpike

Sag Harbor, NY  11963

Tel:	(800) 906-0137

(631) 725-0505

Fax:	(631) 725-8148

Web:	www.dortronics.com

The Electric Locking Systems Contractor shall base his bid on the system hardware as specified herein.

Delete sections below if alternate products are not acceptable on this project.

Alternate techniques, modifications, or changes to any aspect of these specifications shall be submitted as a voluntary alternate.

Voluntary alternates shall be fully documented and submitted to the Owner or Owner’s representative, at least ten (10) working days prior to bid

## 1.3	RELATED SECTIONS

- Section 08110 - Steel Doors and Frames.

- Section 08210 - Wood Doors.

- Section 08300 - Special Doors.

- Section 08400 - Entrances and Storefronts.

- Section 08710 - Finish Hardware.

- Section 16000 - Special Security Control Equipment.

## 1.4	REFERENCES

Delete references from the list below that are not actually required by the text of the edited section.

- ANSI/DHI A115 Series - American National Standard Specifications for Steel Door and Frame Preparation for Hardware.

- BHMA A156.2 - American National Standard for Bored and Pre-assembled Locks and Latches.

- BHMA A156.13 - American National Standard for Mortise Locks & Latches; Builders Hardware manufacturers Association.

- BHMA A156.18 - American National Standard for Materials and Finishes.

- Certification Listings:

- Underwriters Laboratories, Inc.

- NFPA 101

- FF-H-106C - Hardware, Builders', Locks and Door Trim, General Specification for.

- The Americans with Disabilities Act of 1992.

## 1.5	SUBMITTALS

Delete any of the following paragraphs not required.

- Submit under provisions of Section 01300.

- Product Data:

- Provide manufacturer's standard details and catalog data demonstrating compliance with referenced standards.

- Provide installation instructions.

- Hardware Schedules: Submit a schedule of products specified in this section coordinated with doors and hardware specified elsewhere.

- Samples:  Submit 1 of each type of electromagnetic lock and accessory device.  The Architect for installation will return approved samples on the final openings of the Project.

- Contract Close-out Submittals:

- As built schedule of locks and accessory devices.

- Operation and maintenance materials.

## 1.6	DELIVERY, STORAGE, AND HANDLING

Store products indoors in a secured area, and protect from moisture, construction traffic, and damage.

## 1.7	SYSTEM WARRANTIES

All electromagnetic locks shall be guaranteed against defects in material and workmanship with a lifetime warranty after date of manufacture.  All other components of the Electric Locking System shall be similarly warranted for a period of one year.  Expressed warranties are conditionally based on the requirement that the items covered within the guarantee are used and maintained in accordance with the manufacturer’s recommendations.

# PART 2	PRODUCTS

## 2.1	MANUFACTURER

Provide products by Dortronics Systems, Inc.; 1668 Sag Harbor Turnpike, Sag Harbor, NY  11963.  Telephone:  (800) 906-0137 or (631) 725-0505.  Fax:  (631) 725-4234.

## 2.3	electrical key switch and

## DESK CONSOLE CONTROL DEVICES

Provide 5240 Series as required by the scheduled locks and as described below:

5241 Series Electrical key switches with optional Push buttons are mounted on a Series of Stainless Steel wall plates or the 5246 Series Desk console.

Edit, or include schedule showing required locations.

The 5241 Series Key switches are available in a variety of models, including two gang and one gang plates for flush wall mounting and narrow plates for hollow metal or aluminum door frames.

5246 Series Desk mount consoles are 3-3/4 x 2-1/2 x 1-1/2”; and are ideal for use by customers who need an extra measure of security for reception personnel. The key switch can be wired to Override and control the Push button functionality

5241-K11	 SPST- MAINT. KEY REMOVABLE IN OFF POSITION

5241-K12	SPNO- MOM. KEY REMOVABLE IN OFF POSITION

5241-K21	SPST- MAINT.KEY REMOVABLE IN ON & OFF POSITION

5241-K31	SPST- MAINT. KEY REMOVABLE IN ON POSITION

5241-K24	SPDT-MAINTAIN KEY REMOVABLE ON & OFF

5241-K331	DPDT MAINT. (KEY REMOVABLE IN ONE POSITION)

5241-K332	DPDT MAINT. (KEY REMOVABLE IN TWO POSITIONS)

5246 KEY SWITCH ON MINI-BOX CONSOLE

3-3/4 LONG X 2-1/2 WIDE X 1-1/2" HIGH

5246-K24 X L2		SPDT KEY SWITCH & 2-LEDS

5246-K24 X L3		SPDT KEY SWITCH & 3-LEDS

5246-K24 X L4		SPDT KEY SWITCH & 4-LEDS

5246-K24 X P15	SPDT KEY SWITCH & 1-MOM.PUSH BUTTON (3/8" DIA)

5246-K24 X 2P15	SPDT KEY SWITCH & 2-MOM.PUSH BUTTONS

5246-K24 X 3P15	SPDT KEY SWITCH & 3-MOM.PUSH BUTTONS

5246-K24 X 4P15	SPDT KEY SWITCH & 4-MOM.PUSH BUTTONS

5246-K331 X P15 	DPDT KEY SWITCH & 1 MOM. PUSH BUTTONS

(KEY REMOVABLE IN ONE POSITION)

5246-K332 X P15	DPDT KEY SWITCH & 1 MOM. PUSH BUTTONS

(KEY REMOVABLE IN TWO POSITIONS)

Available options include a push button with SPDT P-15 or DPDT P-25 contact outputs, and an LED option with choice of bicolor and pushbutton features.  The switch contacts are rated for 3 amps at 115VAC or 28VDC and the LED is rated at .02 amps at 24VDC.

# PART 3	EXECUTION

## 3.1	INSPECTION AND APPROVAL

Upon successful completion of Electric Locking System installation, the Owner’s authorized representative shall inspect and approve the satisfactory operation of the ELS and related accessories.  Upon receipt of a detailed system adjustment list from the Owner’s authorized representative, the ELS Contractor shall complete required correction of each outstanding item on the system adjustment list.  After all items appearing on the installation/inspection report are completed, the Owner's authorized representative will make an appropriate approval.